## Worksheet 1
Instrument type | Model | Analytes | Depth resolution
ICP-MS | Agilent 7700x | 23Na, 24Mg, 27Al, 43Ca, 44Ca | 3.8–4.7 cm
FIC cation | Dionex ICS-3000 | Na+, Ca2+, Mg2+, K+ | >4 cm
Fluorescence | FIALab Precision Measurement Technologies | Ca2+, NH4+, H2O2 | 1.4 cm
photomultiplier tube fluorometers (PMT-FL)