## Worksheet 1
| Vaisala WAA1511 | WAV1511 | WS4252
| wind speed | wind direction | wind speed | wind direction
Sensor/transducer type | Cup anemometer/opto-chopper | Optical code disc | Ultrasonic wind sensor
Observation range | 0.4–75 m s−1 | 0–360° (at wind speed 0.4–75 m s−1) | 0–65 m s−1 | 0–360°
Starting threshold |  |  | virtually zero | virtually zero
Resolution | 0.1 m s−1 | ±2.8° | 0.1 m s−1 | 1°
Accuracy | max ±0.5 m s−1 | Better than ±3° | ±0.135 m s−1 | ±2.0°
(within 0.4–60 m s−1)