## Blanks
Blank Name | UVM Batch Number | Cathode Number | Al Analysis Date | Added Al carrier (μg) | From AMS: 26Al/27Al Ratio | From AMS: 26Al/27Al Ratio Uncertainty
BLK | 645 | 153405 | 2019-01-20 | 1510.8 | 7.6785e-15 | 1.3472e-15
BLK | 646 | 153418 | 2019-01-20 | 1509.9 | 1.0862e-15 | 5.882e-16
|  |  | AVERAGE | 1510.35 | 4.3824e-15
|  |  | STDEV | 0.6364 | 4.6614e-15
You had two blanks with your samples, so I see no reason not to average them. There's a bit of spread, and the first one is higher than we generally see, but that's not necessarily surprising given your sample ratios. The blank correction should be pretty trivial since some of your samples are four orders of magnitude higher! I'm happy to discuss other options though.

## 26Al Calculations (2)
CONSTANTS
Atomic Mass of Al (g/mol): |  |  | 26.9815
Avogadro's Number (atoms/mol): |  |  | 6.022e+23
|  |  | SAMPLE PREPARATION DATA |  |  | CALCULATIONS TO DETERMINE CONCENTRATION |  |  |  |  | CALCULATIONS TO DETERMINE UNCERTAINTY
Sample Name | UVM Batch Number | Al Analysis Date | Quartz Mass (g) | Total 27Al Quantified by ICP-OES (μg) | Calculate: Total 27Al Atoms | From AMS: Uncorrected 26Al/27Al Ratio | From "Blanks" Sheet: Background 26Al/27Al Ratio | Calculate: Background-Corrected 26Al/27Al Ratio | Calculate: 26Al Atoms | Calculate: 26Al Atoms/g | From AMS: Uncorrected 26Al/27Al Ratio Uncertainty | From "Blanks" Sheet: Background 26Al/27Al Ratio Uncertainty | Calculate: Background-Corrected 26Al/27Al Ratio Uncertainty | Calculate: Uncertainty 26Al Atoms | Calculate: Uncertainty 26Al Atoms/g
Pit2-6-14 | 645 | 2019-01-20 | 20.6733 | 1809.139 | 4.0378e+19 | 3.4741e-11 | 4.3824e-15 | 3.4737e-11 | 1402613263.3233 | 67846607.1369 | 6.1901e-13 | 4.6614e-15 | 6.1902e-13 | 24995033.0489 | 1209049.0173
Pit2-14-17 | 645 | 2019-01-20 | 21.9411 | 1924.9117 | 4.2962e+19 | 3.4388e-11 | 4.3824e-15 | 3.4384e-11 | 1477209646.6452 | 67326143.4771 | 7.1846e-13 | 4.6614e-15 | 7.1847e-13 | 30867069.7892 | 1406815.0544
Pit2-23-29 | 645 | 2019-01-20 | 21.8446 | 1724.0084 | 3.8478e+19 | 3.6019e-11 | 4.3824e-15 | 3.6015e-11 | 1385775368.6368 | 63437891.682 | 7.5718e-13 | 4.6614e-15 | 7.5719e-13 | 29135307.1557 | 1333753.2917
Pit2-37-43 | 645 | 2019-01-20 | 12.7551 | 1763.5991 | 3.9362e+19 | 1.8862e-11 | 4.3824e-15 | 1.8858e-11 | 742265235.9196 | 58193603.8071 | 3.8565e-13 | 4.6614e-15 | 3.8568e-13 | 15181090.2878 | 1190197.669
Pit2-43-50 | 645 | 2019-01-20 | 18.8236 | 1473.2104 | 3.2881e+19 | 2.038e-11 | 4.3824e-15 | 2.0376e-11 | 669965277.7777 | 35591771.9128 | 4.2132e-13 | 4.6614e-15 | 4.2134e-13 | 13854058.8036 | 735994.114
Pit2-56-62 | 645 | 2019-01-20 | 12.6866 | 1634.3779 | 3.6478e+19 | 8.1181e-12 | 4.3824e-15 | 8.1138e-12 | 295971012.4484 | 23329419.4227 | 1.8416e-13 | 4.6614e-15 | 1.8422e-13 | 6720027.2378 | 529694.8937
C1-5-36 | 645 | 2019-01-20 | 1.8134 | 1586.6665 | 3.5413e+19 | 2.3435e-13 | 4.3824e-15 | 2.2996e-13 | 8143622.8045 | 4490803.3553 | 9.6541e-15 | 4.6614e-15 | 1.0721e-14 | 379645.2723 | 209355.5047
C1-36-48 | 645 | 2019-01-20 | 2.2931 | 1616.678 | 3.6083e+19 | 2.2567e-13 | 4.3824e-15 | 2.2129e-13 | 7984747.8142 | 3482075.7116 | 8.0823e-15 | 4.6614e-15 | 9.3302e-15 | 336659.0007 | 146813.9203
C1-48-70 | 645 | 2019-01-20 | 2.5156 | 1683.2416 | 3.7568e+19 | 2.0569e-13 | 4.3824e-15 | 2.0131e-13 | 7562888.0453 | 3006395.3114 | 8.721e-15 | 4.6614e-15 | 9.8887e-15 | 371499.4402 | 147678.2637
C1-70-100 | 645 | 2019-01-20 | 1.5451 | 1593.6921 | 3.557e+19 | 1.908e-13 | 4.3824e-15 | 1.8642e-13 | 6630873.5107 | 4291549.7448 | 8.1145e-15 | 4.6614e-15 | 9.3581e-15 | 332863.3358 | 215431.581
C1-107-125 | 646 | 2019-01-20 | 11.1057 | 2116.469 | 4.7237e+19 | 7.8393e-13 | 4.3824e-15 | 7.7955e-13 | 36823902.4782 | 3315766.0011 | 1.9723e-14 | 4.6614e-15 | 2.0266e-14 | 957317.6992 | 86200.5726
C1-125-145 | 646 | 2019-01-20 | 5.7661 | 1855.7802 | 4.1419e+19 | 3.9461e-13 | 4.3824e-15 | 3.9022e-13 | 16162773.6856 | 2803068.5707 | 1.3555e-14 | 4.6614e-15 | 1.4334e-14 | 593706.8349 | 102965.0604
C1-185-235 | 646 | 2019-01-20 | 2.6553 | 1644.1827 | 3.6697e+19 | 1.0817e-13 | 4.3824e-15 | 1.0379e-13 | 3808680.0028 | 1434368.9989 | 7.7056e-15 | 4.6614e-15 | 9.0058e-15 | 330482.2867 | 124461.3741
C1-235-310 | 646 | 2019-01-20 | 2.586 | 1619.3407 | 3.6142e+19 | 8.4999e-14 | 4.3824e-15 | 8.0617e-14 | 2913665.4693 | 1126707.4514 | 5.4893e-15 | 4.6614e-15 | 7.2015e-15 | 260277.4354 | 100648.6603
C1-310-350 | 646 | 2019-01-20 | 5.2484 | 1688.7547 | 3.7691e+19 | 1.1663e-13 | 4.3824e-15 | 1.1224e-13 | 4230646.3575 | 806083.0648 | 6.0867e-15 | 4.6614e-15 | 7.6666e-15 | 288964.9534 | 55057.723
C1-500-582 | 646 | 2019-01-20 | 7.8121 | 1816.4565 | 4.0541e+19 | 8.7641e-14 | 4.3824e-15 | 8.3259e-14 | 3375444.4996 | 432079.0184 | 6.0586e-15 | 4.6614e-15 | 7.6443e-15 | 309912.8174 | 39670.8718
C1-582-649 | 646 | 2019-01-20 | 10.4209 | 1978.2909 | 4.4153e+19 | 9.7473e-14 | 4.3824e-15 | 9.309e-14 | 4110265.4198 | 394425.1859 | 5.8665e-15 | 4.6614e-15 | 7.493e-15 | 330839.8933 | 31747.7275
C1-781-819 | 646 | 2019-01-20 | 10.4503 | 1886.5741 | 4.2106e+19 | 1.2224e-13 | 4.3824e-15 | 1.1786e-13 | 4962481.8652 | 474865.0149 | 6.9791e-15 | 4.6614e-15 | 8.3927e-15 | 353384.9999 | 33815.7756
C1-819-879 | 646 | 2019-01-20 | 20.0278 | 2493.0031 | 5.5641e+19 | 1.7693e-13 | 4.3824e-15 | 1.7254e-13 | 9600556.8397 | 479361.5295 | 9.9473e-15 | 4.6614e-15 | 1.0985e-14 | 611236.3238 | 30519.3942
C1-879-944 | 646 | 2019-01-20 | 16.5967 | 2143.941 | 4.7851e+19 | 1.6403e-13 | 4.3824e-15 | 1.5965e-13 | 7639285.0802 | 460289.3997 | 1.231e-14 | 4.6614e-15 | 1.3163e-14 | 629871.8902 | 37951.6344

## Journal-Style Table
Sample Name | Quartz Mass (g) | Total 27Al Quantified by ICP-OES (μg)* | AMS Cathode Number | Uncorrected 26Al/27Al Ratio** | Uncorrected 26Al/27Al Ratio Uncertainty** | Background-Corrected 26Al/27Al Ratio | Background-Corrected 26Al/27Al Ratio Uncertainty | 26Al Concentration (atoms g-1) | 26Al Concentration Uncertainty (atoms g-1)
Pit2-6-14 | 20.6733 | 1809.139 | 153404 | 3.4741e-11 | 6.1901e-13 | 3.4737e-11 | 6.1902e-13 | 67846607.1369 | 1209049.0173
Pit2-14-17 | 21.9411 | 1924.9117 | 153406 | 3.4388e-11 | 7.1846e-13 | 3.4384e-11 | 7.1847e-13 | 67326143.4771 | 1406815.0544
Pit2-23-29 | 21.8446 | 1724.0084 | 153407 | 3.6019e-11 | 7.5718e-13 | 3.6015e-11 | 7.5719e-13 | 63437891.682 | 1333753.2917
Pit2-37-43 | 12.7551 | 1763.5991 | 153408 | 1.8862e-11 | 3.8565e-13 | 1.8858e-11 | 3.8568e-13 | 58193603.8071 | 1190197.669
Pit2-43-50 | 18.8236 | 1473.2104 | 153409 | 2.038e-11 | 4.2132e-13 | 2.0376e-11 | 4.2134e-13 | 35591771.9128 | 735994.114
Pit2-56-62 | 12.6866 | 1634.3779 | 153410 | 8.1181e-12 | 1.8416e-13 | 8.1138e-12 | 1.8422e-13 | 23329419.4227 | 529694.8937
C1-5-36 | 1.8134 | 1586.6665 | 153412 | 2.3435e-13 | 9.6541e-15 | 2.2996e-13 | 1.0721e-14 | 4490803.3553 | 209355.5047
C1-36-48 | 2.2931 | 1616.678 | 153413 | 2.2567e-13 | 8.0823e-15 | 2.2129e-13 | 9.3302e-15 | 3482075.7116 | 146813.9203
C1-48-70 | 2.5156 | 1683.2416 | 153414 | 2.0569e-13 | 8.721e-15 | 2.0131e-13 | 9.8887e-15 | 3006395.3114 | 147678.2637
C1-70-100 | 1.5451 | 1593.6921 | 153415 | 1.908e-13 | 8.1145e-15 | 1.8642e-13 | 9.3581e-15 | 4291549.7448 | 215431.581
C1-107-125 | 11.1057 | 2116.469 | 153416 | 7.8393e-13 | 1.9723e-14 | 7.7955e-13 | 2.0266e-14 | 3315766.0011 | 86200.5726
C1-125-145 | 5.7661 | 1855.7802 | 153417 | 3.9461e-13 | 1.3555e-14 | 3.9022e-13 | 1.4334e-14 | 2803068.5707 | 102965.0604
C1-185-235 | 2.6553 | 1644.1827 | 153419 | 1.0817e-13 | 7.7056e-15 | 1.0379e-13 | 9.0058e-15 | 1434368.9989 | 124461.3741
C1-235-310 | 2.586 | 1619.3407 | 153420 | 8.4999e-14 | 5.4893e-15 | 8.0617e-14 | 7.2015e-15 | 1126707.4514 | 100648.6603
C1-310-350 | 5.2484 | 1688.7547 | 153421 | 1.1663e-13 | 6.0867e-15 | 1.1224e-13 | 7.6666e-15 | 806083.0648 | 55057.723
C1-500-582 | 7.8121 | 1816.4565 | 153422 | 8.7641e-14 | 6.0586e-15 | 8.3259e-14 | 7.6443e-15 | 432079.0184 | 39670.8718
C1-582-649 | 10.4209 | 1978.2909 | 153423 | 9.7473e-14 | 5.8665e-15 | 9.309e-14 | 7.493e-15 | 394425.1859 | 31747.7275
C1-781-819 | 10.4503 | 1886.5741 | 153425 | 1.2224e-13 | 6.9791e-15 | 1.1786e-13 | 8.3927e-15 | 474865.0149 | 33815.7756
C1-819-879 | 20.0278 | 2493.0031 | 153426 | 1.7693e-13 | 9.9473e-15 | 1.7254e-13 | 1.0985e-14 | 479361.5295 | 30519.3942
C1-879-944 | 16.5967 | 2143.941 | 153427 | 1.6403e-13 | 1.231e-14 | 1.5965e-13 | 1.3163e-14 | 460289.3997 | 37951.6344
*27Al was added only to samples with insufficient total Al through commercial SPEX ICP standard with a concentration of 1000 μg mL-1. The total here reflects the sum of Al added through carrier and native Al in quartz.
**Isotopic analysis was conducted at PRIME Laboratory; ratios were normalized against standard KNSTD-01-5-2 with an assumed ratio of 1.818 x 10-12 (Nishiizumi et al., 2004).

## Greg's 26Al Calculations
CONSTANTS
Atomic Mass of Al (g/mol): |  |  | 26.9815
Avogadro's Number (atoms/mol): |  |  | 6.022e+23
|  |  | SAMPLE PREPARATION DATA |  |  | CALCULATIONS TO DETERMINE CONCENTRATION |  |  |  |  | CALCULATIONS TO DETERMINE UNCERTAINTY |  |  |  |  | BLK
Sample Name | UVM Batch Number | Al Analysis Date | Quartz Mass (g) | Total 27Al Quantified by ICP-OES (μg) | Calculate: Total 27Al Atoms | From AMS: Uncorrected 26Al/27Al Ratio | Calculate: Uncorrected 26Al Atoms | Background 26Al Atoms | Calculate: Background-Corrected 26Al Atoms | Calculate: 26Al Atoms/g | From AMS: Uncorrected 26Al/27Al Ratio Uncertainty | From "Blanks" Sheet: Background 26Al/27Al Ratio Uncertainty | Calculate: Background-Corrected 26Al/27Al Ratio Uncertainty | Calculate: Uncertainty 26Al Atoms | Calculate: Uncertainty 26Al Atoms/g | BLK/sample ratio
Pit2-6-14 | 645 | 2019-01-20 | 20.6733 | 1809.139 | 4.0378e+19 | 3.4741e-11 | 1402790215.2355 | 258915.2185 | 1402531300.0169 | 67842642.443 | 6.1901e-13 | 4.6614e-15 | 6.1902e-13 | 24995033.0489 | 1209049.0173 | 0.018457
Pit2-14-17 | 645 | 2019-01-20 | 21.9411 | 1924.9117 | 4.2962e+19 | 3.4388e-11 | 1477397922.2896 | 258915.2185 | 1477139007.071 | 67322923.9679 | 7.1846e-13 | 4.6614e-15 | 7.1847e-13 | 30867069.7892 | 1406815.0544 | 0.017525
Pit2-23-29 | 645 | 2019-01-20 | 21.8446 | 1724.0084 | 3.8478e+19 | 3.6019e-11 | 1385943993.919 | 258915.2185 | 1385685078.7005 | 63433758.398 | 7.5718e-13 | 4.6614e-15 | 7.5719e-13 | 29135307.1557 | 1333753.2917 | 0.018682
Pit2-37-43 | 645 | 2019-01-20 | 12.7551 | 1763.5991 | 3.9362e+19 | 1.8862e-11 | 742437733.5766 | 258915.2185 | 742178818.3581 | 58186828.6692 | 3.8565e-13 | 4.6614e-15 | 3.8568e-13 | 15181090.2878 | 1190197.669 | 0.034874
Pit2-43-50 | 645 | 2019-01-20 | 18.8236 | 1473.2104 | 3.2881e+19 | 2.038e-11 | 670109372.5068 | 258915.2185 | 669850457.2883 | 35585672.0972 | 4.2132e-13 | 4.6614e-15 | 4.2134e-13 | 13854058.8036 | 735994.114 | 0.038638
Pit2-56-62 | 645 | 2019-01-20 | 12.6866 | 1634.3779 | 3.6478e+19 | 8.1181e-12 | 296130870.9756 | 258915.2185 | 295871955.757 | 23321611.4449 | 1.8416e-13 | 4.6614e-15 | 1.8422e-13 | 6720027.2378 | 529694.8937 | 0.087433
C1-5-36 | 645 | 2019-01-20 | 1.8134 | 1586.6665 | 3.5413e+19 | 2.3435e-13 | 8298814.6748 | 258915.2185 | 8039899.4563 | 4433605.0823 | 9.6541e-15 | 4.6614e-15 | 1.0721e-14 | 379645.2723 | 209355.5047 | 3.1199
C1-36-48 | 645 | 2019-01-20 | 2.2931 | 1616.678 | 3.6083e+19 | 2.2567e-13 | 8142875.1084 | 258915.2185 | 7883959.8899 | 3438123.0168 | 8.0823e-15 | 4.6614e-15 | 9.3302e-15 | 336659.0007 | 146813.9203 | 3.1797
C1-48-70 | 645 | 2019-01-20 | 2.5156 | 1683.2416 | 3.7568e+19 | 2.0569e-13 | 7727525.929 | 258915.2185 | 7468610.7105 | 2968918.2344 | 8.721e-15 | 4.6614e-15 | 9.8887e-15 | 371499.4402 | 147678.2637 | 3.3506
C1-70-100 | 645 | 2019-01-20 | 1.5451 | 1593.6921 | 3.557e+19 | 1.908e-13 | 6786752.5616 | 258915.2185 | 6527837.3431 | 4224863.9849 | 8.1145e-15 | 4.6614e-15 | 9.3581e-15 | 332863.3358 | 215431.581 | 3.815
BLK-645 | 645 | 2019-01-21 | 0 | 1510.8 | 3.372e+19 | 7.6785e-15 | 258915.2185 |  |  |  | 1.3472e-15 | 1.3472e-15 | 1.3472e-15 | 45426.9723 |  | 100
C1-107-125 | 646 | 2019-01-20 | 11.1057 | 2116.469 | 4.7237e+19 | 7.8393e-13 | 37030914.342 | 36605.7004 | 36994308.6416 | 3331110.0283 | 1.9723e-14 | 4.6614e-15 | 2.0266e-14 | 957317.6992 | 86200.5726 | 0.098852
C1-125-145 | 646 | 2019-01-20 | 5.7661 | 1855.7802 | 4.1419e+19 | 3.9461e-13 | 16344287.5703 | 36605.7004 | 16307681.8699 | 2828199.6271 | 1.3555e-14 | 4.6614e-15 | 1.4334e-14 | 593706.8349 | 102965.0604 | 0.22397
C1-185-235 | 646 | 2019-01-20 | 2.6553 | 1644.1827 | 3.6697e+19 | 1.0817e-13 | 3969497.5319 | 36605.7004 | 3932891.8315 | 1481147.8294 | 7.7056e-15 | 4.6614e-15 | 9.0058e-15 | 330482.2867 | 124461.3741 | 0.92217
C1-235-310 | 646 | 2019-01-20 | 2.586 | 1619.3407 | 3.6142e+19 | 8.4999e-14 | 3072053.2065 | 36605.7004 | 3035447.5061 | 1173800.2731 | 5.4893e-15 | 4.6614e-15 | 7.2015e-15 | 260277.4354 | 100648.6603 | 1.1916
C1-310-350 | 646 | 2019-01-20 | 5.2484 | 1688.7547 | 3.7691e+19 | 1.1663e-13 | 4395823.4788 | 36605.7004 | 4359217.7784 | 830580.3251 | 6.0867e-15 | 4.6614e-15 | 7.6666e-15 | 288964.9534 | 55057.723 | 0.83274
C1-500-582 | 646 | 2019-01-20 | 7.8121 | 1816.4565 | 4.0541e+19 | 8.7641e-14 | 3553112.138 | 36605.7004 | 3516506.4376 | 450135.871 | 6.0586e-15 | 4.6614e-15 | 7.6443e-15 | 309912.8174 | 39670.8718 | 1.0302
C1-582-649 | 646 | 2019-01-20 | 10.4209 | 1978.2909 | 4.4153e+19 | 9.7473e-14 | 4303762.0797 | 36605.7004 | 4267156.3793 | 409480.5995 | 5.8665e-15 | 4.6614e-15 | 7.493e-15 | 330839.8933 | 31747.7275 | 0.85055
C1-781-819 | 646 | 2019-01-20 | 10.4503 | 1886.5741 | 4.2106e+19 | 1.2224e-13 | 5147007.7008 | 36605.7004 | 5110402.0004 | 489019.6454 | 6.9791e-15 | 4.6614e-15 | 8.3927e-15 | 353384.9999 | 33815.7756 | 0.7112
C1-819-879 | 646 | 2019-01-20 | 20.0278 | 2493.0031 | 5.5641e+19 | 1.7693e-13 | 9844397.5038 | 36605.7004 | 9807791.8034 | 489708.8948 | 9.9473e-15 | 4.6614e-15 | 1.0985e-14 | 611236.3238 | 30519.3942 | 0.37184
C1-879-944 | 646 | 2019-01-20 | 16.5967 | 2143.941 | 4.7851e+19 | 1.6403e-13 | 7848983.9824 | 36605.7004 | 7812378.282 | 470718.7743 | 1.231e-14 | 4.6614e-15 | 1.3163e-14 | 629871.8902 | 37951.6344 | 0.46638
BLK-646 | 646 | 2019-01-21 | 0 | 1509.9 | 3.3699e+19 | 1.0862e-15 | 36605.7004 |  |  |  | 5.882e-16 | 5.882e-16 | 5.882e-16 | 19821.9478 |  | 100
[7 empty] | 258915.2185 | 45426.9723
[7 empty] | 259000 | 45000
[7 empty] | 36605.7004 | 19821.9478
[7 empty] | 37000 | 20000