## Print table
Table SX. Step-degassing Ne isotope measurements for samples from Ong Valley "OD1" core site. Run on BGC "Ohio" system, October-November 2018. Note: "n.d" = not detected.
|  |  | Heating | Heating | [15 empty] | Excess 21Ne |  |  | Excess 21Ne as | Percent of total | Total
|  | Aliquot | temperature | time | Total 20Ne released1 |  |  | Total 21Ne released2 |  |  | Total 22Ne released3 |  |  | 21Ne / 20Ne4 |  |  | 22Ne / 20Ne4 |  |  | This heating step |  |  | % of 21Ne released | excess 21Ne | excess 21Ne
Sample name | Aliquot | weight (g) | (deg C) | (hr) | (109 atoms) |  |  | (106 atoms) |  |  | (106 atoms) |  |  | (10-3) |  |  | (10-3) |  |  | (106 atoms g-1) |  |  | in this heating step | released in this step | (106 atoms g-1)
1. Aliquots of CRONUS-A quartz standard run together with samples
CRONUS-A | 201810a | 0.1454 | 850 | 0.25 | 1.7992 | +/- | 0.0279 | 50.497 | +/- | 0.989 | 234.204 | +/- | 5.288 | 27.539 | +/- | 0.266 | 130.3 | +/- | 2.4 | 304.88 | +/- | 4.97 | 87.7865 | 98.3262 | 310.07 | +/- | 5.0136
|  |  | 1100 | 0.25 | 0.1925 | +/- | 0.0102 | 1.346 | +/- | 0.096 | 20.312 | +/- | 3.727 | 6.87 | +/- | 0.582 | 105.6 | +/- | 19.6 | 5.19 | +/- | 0.66 | 56.0643 | 1.6738
| 201810b | 0.0968 | 850 | 0.25 | 1.2766 | +/- | 0.0211 | 33.747 | +/- | 0.7 | 168.92 | +/- | 4.863 | 25.945 | +/- | 0.341 | 132.4 | +/- | 3.4 | 303.86 | +/- | 5.49 | 87.1593 | 97.8458 | 310.55 | +/- | 5.5952
|  |  | 1100 | 0.25 | 0.152 | +/- | 0.0094 | 1.116 | +/- | 0.105 | 16.919 | +/- | 3.791 | 7.21 | +/- | 0.785 | 111.4 | +/- | 25.3 | 6.69 | +/- | 1.08 | 58.028 | 2.1542
| 201810c | 0.0394 | 850 | 0.25 | 0.5476 | +/- | 0.0138 | 13.99 | +/- | 0.34 | 71.842 | +/- | 3.859 | 25.082 | +/- | 0.658 | 131.3 | +/- | 7.2 | 308.2 | +/- | 7.14 | 86.7983 | 91.473 | 336.93 | +/- | 7.7999
|  |  | 1100 | 0.25 | 0.1236 | +/- | 0.0104 | 1.521 | +/- | 0.125 | 13.893 | +/- | 3.907 | 12.096 | +/- | 1.38 | 112.5 | +/- | 32.3 | 28.73 | +/- | 3.14 | 74.4222 | 8.527
| 201810d | 0.1395 | 850 | 0.25 | 1.9761 | +/- | 0.0473 | 48.607 | +/- | 1.652 | 249.646 | +/- | 8.862 | 24.355 | +/- | 0.249 | 125.8 | +/- | 3.4 | 303.81 | +/- | 7.5 | 87.1922 | 97.7793 | 310.71 | +/- | 7.5436
|  |  | 1100 | 0.25 | 0.132 | +/- | 0.0093 | 1.371 | +/- | 0.12 | 14.345 | +/- | 6.843 | 10.239 | +/- | 1.074 | 108.1 | +/- | 50.8 | 6.9 | +/- | 0.81 | 70.2079 | 2.2207
| 201810e | 0.122 | 850 | 0.25 | 1.6157 | +/- | 0.0223 | 42.714 | +/- | 0.619 | 210.214 | +/- | 5.606 | 25.994 | +/- | 0.396 | 129.9 | +/- | 3.6 | 305.79 | +/- | 3.98 | 87.3399 | 98.499 | 310.45 | +/- | 4.0783
|  |  | 1100 | 0.25 | 0.1274 | +/- | 0.0097 | 0.952 | +/- | 0.106 | 14.229 | +/- | 5.375 | 7.41 | +/- | 0.986 | 111.8 | +/- | 41.9 | 4.66 | +/- | 0.89 | 59.7185 | 1.501
| 201810f | 0.1597 | 850 | 0.25 | 2.0712 | +/- | 0.0363 | 55.802 | +/- | 0.942 | 269.924 | +/- | 6.266 | 26.529 | +/- | 0.27 | 129.4 | +/- | 2.8 | 306.42 | +/- | 5.31 | 87.6945 | 97.4463 | 314.45 | +/- | 5.3586
|  |  | 1100 | 0.25 | 0.1585 | +/- | 0.0102 | 1.776 | +/- | 0.116 | 19.823 | +/- | 5.753 | 11.028 | +/- | 0.973 | 124.6 | +/- | 36.1 | 8.03 | +/- | 0.72 | 72.2067 | 2.5537
| 201810g | 0.147 | 850 | 0.25 | 2.2633 | +/- | 0.0345 | 52.057 | +/- | 0.85 | 282.419 | +/- | 6.438 | 22.846 | +/- | 0.22 | 124.5 | +/- | 2.3 | 306.91 | +/- | 5.26 | 86.6661 | 97.8886 | 313.53 | +/- | 5.3132
|  |  | 1100 | 0.25 | 0.1591 | +/- | 0.0063 | 1.459 | +/- | 0.112 | 20.281 | +/- | 5.169 | 9.057 | +/- | 0.748 | 127.3 | +/- | 31.6 | 6.62 | +/- | 0.75 | 66.6991 | 2.1114
| 201810h | 0.1668 | 850 | 0.25 | 2.4144 | +/- | 0.0358 | 57.007 | +/- | 0.795 | 308.23 | +/- | 6.779 | 23.394 | +/- | 0.195 | 127.5 | +/- | 2.2 | 296.5 | +/- | 4.91 | 86.7546 | 96.4824 | 307.31 | +/- | 4.9731
|  |  | 1100 | 0.25 | 0.2485 | +/- | 0.0072 | 2.565 | +/- | 0.134 | 28.305 | +/- | 5.346 | 10.197 | +/- | 0.569 | 113.8 | +/- | 20.9 | 10.81 | +/- | 0.79 | 70.2966 | 3.5176
2. Samples of unconsolidated ablation till overlying ice
17-OD1-PIT2-6-14 | a | 0.1525 | 850 | 0.25 | 0.6681 | +/- | 0.014 | 19.471 | +/- | 0.528 | 89.493 | +/- | 6.43 | 28.438 | +/- | 0.593 | 132.5 | +/- | 9.3 | 111.89 | +/- | 2.02 | 87.634 | 98.6076 | 113.47 | +/- | 2.1072
|  |  | 1100 | 0.25 | 0.0739 | +/- | 0.0103 | 0.471 | +/- | 0.09 | 8.269 | +/- | 5.761 | 6.209 | +/- | 1.442 | 111 | +/- | 76.8 | 1.58 | +/- | 0.6 | 51.1571 | 1.3924
| b | 0.1573 | 850 | 0.25 | 0.6982 | +/- | 0.0107 | 18.6 | +/- | 0.326 | 89.879 | +/- | 5.406 | 26.484 | +/- | 0.505 | 128 | +/- | 7.7 | 104.67 | +/- | 1.63 | 88.5193 | 100 | 104.67 | +/- | 1.63
|  |  | 1100 | 0.25 | 0.0558 | +/- | 0.0093 | 0.105 | +/- | 0.084 | 7.857 | +/- | 5.426 | 1.85 | +/- | 1.496 | 139.1 | +/- | 96.2 |  | n.d |  | 0 | 0
17-OD1-PIT2-14-17 | a | 0.1427 | 850 | 0.25 | 0.6982 | +/- | 0.0128 | 17.487 | +/- | 0.461 | 91.039 | +/- | 6.293 | 24.43 | +/- | 0.42 | 129 | +/- | 8.7 | 105.31 | +/- | 1.77 | 85.9366 | 100 | 105.31 | +/- | 1.77
|  |  | 1100 | 0.25 | 0.0525 | +/- | 0.0107 | 0.231 | +/- | 0.088 | 6.239 | +/- | 5.781 | 4.279 | +/- | 1.825 | 117.8 | +/- | 108.9 |  | n.d |  | 0 | 0
| b | 0.1584 | 850 | 0.25 | 0.7468 | +/- | 0.0127 | 17.934 | +/- | 0.332 | 93.929 | +/- | 5.411 | 23.869 | +/- | 0.508 | 125.1 | +/- | 7.3 | 98.81 | +/- | 1.69 | 87.2728 | 100 | 98.81 | +/- | 1.69
|  |  | 1100 | 0.25 | 0.0299 | +/- | 0.0095 | 0.157 | +/- | 0.08 | 3.822 | +/- | 5.402 | 5.205 | +/- | 3.066 | 126.3 | +/- | 178.1 |  | n.d |  | 0 | 0
17-OD1-PIT2-23-29 | a | 0.1542 | 850 | 0.25 | 0.8229 | +/- | 0.0144 | 19.589 | +/- | 0.514 | 105.215 | +/- | 6.363 | 23.15 | +/- | 0.399 | 126.3 | +/- | 7.4 | 108.01 | +/- | 1.95 | 85.0229 | 99.0281 | 109.07 | +/- | 2.0432
|  |  | 1100 | 0.25 | 0.0611 | +/- | 0.0096 | 0.354 | +/- | 0.094 | 8.782 | +/- | 5.724 | 5.63 | +/- | 1.707 | 142.6 | +/- | 93.2 | 1.06 | +/- | 0.61 | 46.1729 | 0.97185
| b | 0.1696 | 850 | 0.25 | 0.9222 | +/- | 0.0156 | 19.556 | +/- | 0.344 | 112.209 | +/- | 5.461 | 21.062 | +/- | 0.429 | 120.9 | +/- | 6 | 98.67 | +/- | 1.6 | 85.5719 | 97.8675 | 100.82 | +/- | 1.7088
|  |  | 1100 | 0.25 | 0.1004 | +/- | 0.0101 | 0.669 | +/- | 0.1 | 12.713 | +/- | 5.399 | 6.578 | +/- | 1.161 | 125 | +/- | 53.1 | 2.15 | +/- | 0.6 | 54.5052 | 2.1325
17-OD1-PIT2-37-43 | a | 0.1527 | 850 | 0.25 | 0.4152 | +/- | 0.0104 | 15.148 | +/- | 0.433 | 61.595 | +/- | 6.121 | 35.474 | +/- | 0.961 | 146.5 | +/- | 14.4 | 88.62 | +/- | 1.9 | 89.3337 | 100 | 88.62 | +/- | 1.9
|  |  | 1100 | 0.25 | 0.0282 | +/- | 0.0092 | 0.171 | +/- | 0.086 | 6.109 | +/- | 5.731 | 5.878 | +/- | 3.484 | 214.8 | +/- | 208 |  | n.d |  | 0 | 0
| b | 0.1567 | 850 | 0.25 | 0.418 | +/- | 0.0107 | 15.976 | +/- | 0.277 | 61.523 | +/- | 5.608 | 37.951 | +/- | 1.052 | 146.2 | +/- | 13.4 | 93.56 | +/- | 1.39 | 91.768 | 98.8171 | 94.68 | +/- | 1.51
|  |  | 1100 | 0.25 | 0.042 | +/- | 0.0096 | 0.304 | +/- | 0.091 | 4.394 | +/- | 5.609 | 7.132 | +/- | 2.649 | 103.2 | +/- | 130.1 | 1.12 | +/- | 0.59 | 57.7316 | 1.1829
17-OD1-PIT2-43-50 | a | 0.1661 | 850 | 0.25 | 0.7418 | +/- | 0.014 | 11.324 | +/- | 0.34 | 85.362 | +/- | 6.181 | 14.84 | +/- | 0.351 | 113.6 | +/- | 8 | 53.19 | +/- | 1.4 | 78.0189 | 100 | 53.19 | +/- | 1.4
|  |  | 1100 | 0.25 | 0.0783 | +/- | 0.0093 | 0.316 | +/- | 0.084 | 7.628 | +/- | 5.692 | 3.916 | +/- | 1.126 | 96.7 | +/- | 71.2 |  | n.d |  | 0 | 0
| b | 0.1623 | 850 | 0.25 | 0.7228 | +/- | 0.0112 | 11.312 | +/- | 0.253 | 83.42 | +/- | 5.728 | 15.534 | +/- | 0.366 | 114.6 | +/- | 7.8 | 56.13 | +/- | 1.35 | 80.5331 | 98.2668 | 57.12 | +/- | 1.4654
|  |  | 1100 | 0.25 | 0.0498 | +/- | 0.0104 | 0.312 | +/- | 0.089 | 7.274 | +/- | 5.391 | 6.162 | +/- | 2.151 | 143.7 | +/- | 107.7 | 0.99 | +/- | 0.57 | 51.499 | 1.7332
17-OD1-PIT2-56-62 | a | 0.1621 | 850 | 0.25 | 0.5319 | +/- | 0.0116 | 7.52 | +/- | 0.232 | 60.902 | +/- | 6.063 | 13.741 | +/- | 0.37 | 113.1 | +/- | 11 | 35.46 | +/- | 1.01 | 76.437 | 97.6053 | 36.33 | +/- | 1.1597
|  |  | 1100 | 0.25 | 0.0506 | +/- | 0.0092 | 0.3 | +/- | 0.093 | 5.425 | +/- | 5.632 | 5.757 | +/- | 2.032 | 106.6 | +/- | 109.4 | 0.87 | +/- | 0.57 | 47.009 | 2.3947
| b | 0.1581 | 850 | 0.25 | 0.4893 | +/- | 0.0115 | 6.557 | +/- | 0.205 | 55.616 | +/- | 5.57 | 13.297 | +/- | 0.484 | 112.8 | +/- | 11.3 | 32.07 | +/- | 1.21 | 77.326 | 97.685 | 32.83 | +/- | 1.321
|  |  | 1100 | 0.25 | 0.026 | +/- | 0.0098 | 0.201 | +/- | 0.082 | 6.385 | +/- | 5.278 | 7.578 | +/- | 4.135 | 241.3 | +/- | 213.2 | 0.76 | +/- | 0.53 | 59.7791 | 2.315
3. Samples of sediment extracted from ice core
17-OD1-C1-5-36 | a | 0.1304 | 850 | 0.25 | 1.0575 | +/- | 0.0133 | 4.741 | +/- | 0.15 | 110.48 | +/- | 5.634 | 4.41 | +/- | 0.138 | 104.3 | +/- | 5.3 | 11.79 | +/- | 1.09 | 32.4281 | 94.2446 | 12.51 | +/- | 1.3063
|  |  | 1100 | 0.25 | 0.0898 | +/- | 0.01 | 0.362 | +/- | 0.09 | 9.966 | +/- | 5.418 | 3.996 | +/- | 1.079 | 111.1 | +/- | 60 | 0.72 | +/- | 0.72 | 25.9359 | 5.7554
| b | 0.1643 | 850 | 0.25 | 1.1086 | +/- | 0.0126 | 5.025 | +/- | 0.159 | 115.374 | +/- | 5.455 | 4.493 | +/- | 0.137 | 103.2 | +/- | 4.8 | 10.38 | +/- | 0.9 | 33.939 | 100 | 10.38 | +/- | 0.9
|  |  | 1100 | 0.25 | 0.109 | +/- | 0.0096 | 0.383 | +/- | 0.096 | 12.99 | +/- | 5.459 | 3.443 | +/- | 0.901 | 117.1 | +/- | 48.9 |  | n.d |  | 0 | 0
17-OD1-C1-36-48 | a | 0.1521 | 850 | 0.25 | 1.6968 | +/- | 0.0175 | 6.498 | +/- | 0.165 | 178.528 | +/- | 5.84 | 3.768 | +/- | 0.09 | 105.1 | +/- | 3.4 | 9.04 | +/- | 0.99 | 21.1601 | 70.5148 | 12.82 | +/- | 1.1681
|  |  | 1100 | 0.25 | 0.1651 | +/- | 0.0095 | 1.07 | +/- | 0.091 | 17.051 | +/- | 5.278 | 6.436 | +/- | 0.65 | 103.4 | +/- | 31.7 | 3.78 | +/- | 0.62 | 53.7325 | 29.4852
| b | 0.1629 | 850 | 0.25 | 1.4186 | +/- | 0.0106 | 5.693 | +/- | 0.16 | 143.896 | +/- | 5.206 | 4.031 | +/- | 0.111 | 101.3 | +/- | 3.5 | 9.36 | +/- | 0.96 | 26.7828 | 80.4815 | 11.63 | +/- | 1.0778
|  |  | 1100 | 0.25 | 0.1766 | +/- | 0.0055 | 0.904 | +/- | 0.081 | 17.622 | +/- | 5.556 | 5.046 | +/- | 0.468 | 99.5 | +/- | 30.5 | 2.27 | +/- | 0.49 | 40.9052 | 19.5185
17-OD1-C1-48-70 | a | 0.1615 | 850 | 0.25 | 1.3033 | +/- | 0.0141 | 5.808 | +/- | 0.206 | 137.022 | +/- | 5.774 | 4.386 | +/- | 0.151 | 105 | +/- | 4.4 | 11.54 | +/- | 1.2 | 32.0887 | 92.3939 | 12.49 | +/- | 1.36
|  |  | 1100 | 0.25 | 0.1015 | +/- | 0.0101 | 0.457 | +/- | 0.1 | 11.304 | +/- | 5.446 | 4.467 | +/- | 1.061 | 111.5 | +/- | 53.4 | 0.95 | +/- | 0.64 | 33.5722 | 7.6061
| b | 0.1458 | 850 | 0.25 | 1.3202 | +/- | 0.013 | 5.903 | +/- | 0.171 | 136.996 | +/- | 5.271 | 4.493 | +/- | 0.131 | 103.7 | +/- | 3.9 | 13.93 | +/- | 1.16 | 34.4061 | 84.4754 | 16.49 | +/- | 1.3346
|  |  | 1100 | 0.25 | 0.1311 | +/- | 0.0054 | 0.771 | +/- | 0.097 | 14.975 | +/- | 5.063 | 5.805 | +/- | 0.755 | 114 | +/- | 37.5 | 2.56 | +/- | 0.66 | 48.4109 | 15.5246
| c | 0.1347 | 850 | 0.25 | 1.1805 | +/- | 0.0143 | 4.991 | +/- | 0.154 | 122.337 | +/- | 4.97 | 4.079 | +/- | 0.117 | 100.4 | +/- | 4.1 | 9.84 | +/- | 1.01 | 26.5568 | 90.8587 | 10.83 | +/- | 1.1597
|  |  | 1100 | 0.25 | 0.066 | +/- | 0.0051 | 0.339 | +/- | 0.077 | 5.908 | +/- | 4.63 | 4.98 | +/- | 1.196 | 87.3 | +/- | 68.7 | 0.99 | +/- | 0.57 | 39.3372 | 9.1413
17-OD1-C1-70-100 | a | 0.1433 | 850 | 0.25 | 0.991 | +/- | 0.0134 | 8.622 | +/- | 0.218 | 109.604 | +/- | 5.737 | 8.57 | +/- | 0.216 | 110.6 | +/- | 5.7 | 38.9 | +/- | 1.38 | 64.6529 | 97.6651 | 39.83 | +/- | 1.5254
|  |  | 1100 | 0.25 | 0.0775 | +/- | 0.011 | 0.364 | +/- | 0.088 | 11.846 | +/- | 5.418 | 4.666 | +/- | 1.292 | 153.1 | +/- | 71.4 | 0.93 | +/- | 0.65 | 36.6124 | 2.3349
| b | 0.1598 | 850 | 0.25 | 0.9952 | +/- | 0.0072 | 8.974 | +/- | 0.176 | 107.652 | +/- | 5.122 | 9.068 | +/- | 0.174 | 108.1 | +/- | 5 | 38.14 | +/- | 1.04 | 67.9159 | 95.589 | 39.9 | +/- | 1.1413
|  |  | 1100 | 0.25 | 0.0892 | +/- | 0.0071 | 0.551 | +/- | 0.073 | 7.95 | +/- | 5.251 | 6.106 | +/- | 0.93 | 88.9 | +/- | 57.2 | 1.76 | +/- | 0.47 | 51.0432 | 4.411
17-OD1-C1-107-125 | a | 0.1606 | 850 | 0.25 | 1.1739 | +/- | 0.0182 | 9.02 | +/- | 0.202 | 123.796 | +/- | 5.762 | 7.571 | +/- | 0.178 | 105.5 | +/- | 5 | 33.8 | +/- | 1.13 | 60.1805 | 100 | 33.8 | +/- | 1.13
|  |  | 1100 | 0.25 | 0.1008 | +/- | 0.0106 | 0.272 | +/- | 0.087 | 11.239 | +/- | 5.555 | 2.68 | +/- | 0.888 | 111.6 | +/- | 54.9 |  | n.d |  | 0 | 0
| b | 0.148 | 850 | 0.25 | 1.2793 | +/- | 0.0096 | 9.755 | +/- | 0.206 | 136.624 | +/- | 5.218 | 7.67 | +/- | 0.159 | 106.7 | +/- | 3.9 | 40.82 | +/- | 1.32 | 61.9309 | 92.6464 | 44.06 | +/- | 1.4378
|  |  | 1100 | 0.25 | 0.1076 | +/- | 0.0054 | 0.804 | +/- | 0.085 | 13.455 | +/- | 5.137 | 7.397 | +/- | 0.85 | 124.7 | +/- | 46.4 | 3.24 | +/- | 0.57 | 59.6418 | 7.3536
| c | 0.1625 | 850 | 0.25 | 1.1854 | +/- | 0.0129 | 9.378 | +/- | 0.227 | 129.706 | +/- | 4.998 | 7.626 | +/- | 0.157 | 106 | +/- | 4.1 | 34.13 | +/- | 1.15 | 59.1397 | 100 | 34.13 | +/- | 1.15
|  |  | 1100 | 0.25 | 0.1268 | +/- | 0.0055 | 0.348 | +/- | 0.076 | 12.833 | +/- | 4.658 | 2.662 | +/- | 0.593 | 98.7 | +/- | 36.1 |  | n.d |  | 0 | 0
17-OD1-C1-125-145 | a | 0.164 | 850 | 0.25 | 1.1483 | +/- | 0.0135 | 8.133 | +/- | 0.196 | 121.065 | +/- | 5.996 | 6.981 | +/- | 0.161 | 105.5 | +/- | 5.2 | 28.23 | +/- | 1.07 | 56.9251 | 95.5977 | 29.53 | +/- | 1.2267
|  |  | 1100 | 0.25 | 0.1117 | +/- | 0.0094 | 0.546 | +/- | 0.096 | 13.75 | +/- | 5.433 | 4.858 | +/- | 0.933 | 123.1 | +/- | 48.4 | 1.3 | +/- | 0.6 | 39.0476 | 4.4023
| b | 0.1471 | 850 | 0.25 | 0.9372 | +/- | 0.0092 | 7.331 | +/- | 0.187 | 103.064 | +/- | 5.092 | 7.869 | +/- | 0.203 | 109.9 | +/- | 5.3 | 31.36 | +/- | 1.23 | 62.9253 | 94.4294 | 33.21 | +/- | 1.3433
|  |  | 1100 | 0.25 | 0.0782 | +/- | 0.005 | 0.507 | +/- | 0.08 | 9.388 | +/- | 5.116 | 6.441 | +/- | 1.075 | 119.8 | +/- | 63.5 | 1.85 | +/- | 0.54 | 53.6755 | 5.5706
| c | 0.1539 | 850 | 0.25 | 0.8998 | +/- | 0.0142 | 7.173 | +/- | 0.194 | 100.816 | +/- | 4.91 | 7.681 | +/- | 0.203 | 108.6 | +/- | 5.4 | 27.67 | +/- | 1.09 | 59.3673 | 97.4296 | 28.4 | +/- | 1.2077
|  |  | 1100 | 0.25 | 0.0929 | +/- | 0.0058 | 0.399 | +/- | 0.081 | 10.229 | +/- | 4.813 | 4.159 | +/- | 0.885 | 107.3 | +/- | 50.9 | 0.73 | +/- | 0.52 | 28.1571 | 2.5704
17-OD1-C1-185-235 | a | 0.1532 | 850 | 0.25 | 0.7651 | +/- | 0.0119 | 4.341 | +/- | 0.146 | 79.453 | +/- | 5.599 | 5.594 | +/- | 0.191 | 103.9 | +/- | 7.3 | 13.19 | +/- | 0.91 | 46.5494 | 100 | 13.19 | +/- | 0.91
|  |  | 1100 | 0.25 | 0.0579 | +/- | 0.0093 | 0.073 | +/- | 0.091 | 5.812 | +/- | 5.422 | 1.255 | +/- | 1.553 | 100.2 | +/- | 92.4 |  | n.d |  | 0 | 0
| b | 0.1503 | 850 | 0.25 | 0.8097 | +/- | 0.0068 | 4.699 | +/- | 0.14 | 85.381 | +/- | 4.905 | 5.839 | +/- | 0.172 | 105.4 | +/- | 5.9 | 15.55 | +/- | 0.91 | 49.7375 | 90.6177 | 17.16 | +/- | 1.0335
|  |  | 1100 | 0.25 | 0.0628 | +/- | 0.0057 | 0.43 | +/- | 0.073 | 5.46 | +/- | 5.167 | 6.803 | +/- | 1.294 | 86.7 | +/- | 79.6 | 1.61 | +/- | 0.49 | 56.2751 | 9.3823
| c | 0.1457 | 850 | 0.25 | 0.7381 | +/- | 0.0098 | 4.024 | +/- | 0.148 | 76.05 | +/- | 4.903 | 5.25 | +/- | 0.186 | 99.8 | +/- | 6.5 | 11.64 | +/- | 0.93 | 42.1458 | 100 | 11.64 | +/- | 0.93
17-OD1-C1-235-310 | a | 0.1449 | 850 | 0.25 | 0.562 | +/- | 0.0134 | 2.531 | +/- | 0.125 | 58.975 | +/- | 5.636 | 4.442 | +/- | 0.234 | 105 | +/- | 10 | 5.77 | +/- | 0.86 | 33.0333 | 100 | 5.77 | +/- | 0.86
|  |  | 1100 | 0.25 | 0.0397 | +/- | 0.011 | 0.011 | +/- | 0.085 | 5.695 | +/- | 5.447 | 0.284 | +/- | 2.103 | 143.1 | +/- | 138.7 |  | n.d |  | 0 | 0
| b | 0.1564 | 850 | 0.25 | 0.591 | +/- | 0.008 | 2.842 | +/- | 0.125 | 59.193 | +/- | 4.856 | 4.838 | +/- | 0.216 | 100.2 | +/- | 8 | 7.12 | +/- | 0.8 | 39.1825 | 88.228 | 8.07 | +/- | 0.93814
|  |  | 1100 | 0.25 | 0.0696 | +/- | 0.0053 | 0.356 | +/- | 0.077 | 6.833 | +/- | 5.187 | 5.085 | +/- | 1.15 | 97.9 | +/- | 72.2 | 0.95 | +/- | 0.49 | 41.736 | 11.772
| c | 0.1654 | 850 | 0.25 | 0.6767 | +/- | 0.0094 | 3 | +/- | 0.141 | 68.092 | +/- | 4.869 | 4.279 | +/- | 0.198 | 97.7 | +/- | 7.1 | 5.41 | +/- | 0.8 | 29.8271 | 100 | 5.41 | +/- | 0.8
|  |  | 1100 | 0.25 | 0.0585 | +/- | 0.0046 | 0.26 | +/- | 0.083 | 5.885 | +/- | 4.772 | 4.277 | +/- | 1.402 | 97.9 | +/- | 79.7 |  | n.d |  | 0 | 0
17-OD1-C1-310-350 | a | 0.1543 | 850 | 0.25 | 0.9883 | +/- | 0.014 | 3.819 | +/- | 0.162 | 101.919 | +/- | 5.681 | 3.813 | +/- | 0.16 | 103.2 | +/- | 5.7 | 5.49 | +/- | 1.01 | 22.1814 | 100 | 5.49 | +/- | 1.01
|  |  | 1100 | 0.25 | 0.0973 | +/- | 0.0099 | 0.325 | +/- | 0.085 | 8.888 | +/- | 5.371 | 3.32 | +/- | 0.918 | 91.1 | +/- | 54.4 |  | n.d |  | 0 | 0
| b | 0.1435 | 850 | 0.25 | 1.2389 | +/- | 0.0091 | 5.44 | +/- | 0.142 | 127.638 | +/- | 4.967 | 4.418 | +/- | 0.113 | 103 | +/- | 3.9 | 12.62 | +/- | 0.96 | 33.2899 | 79.8734 | 15.8 | +/- | 1.1114
|  |  | 1100 | 0.25 | 0.126 | +/- | 0.0051 | 0.831 | +/- | 0.08 | 14.211 | +/- | 4.991 | 6.574 | +/- | 0.673 | 112.6 | +/- | 38.5 | 3.18 | +/- | 0.56 | 54.9134 | 20.1266
| c | 0.1547 | 850 | 0.25 | 0.9366 | +/- | 0.009 | 3.752 | +/- | 0.146 | 95.204 | +/- | 4.826 | 3.862 | +/- | 0.141 | 98.7 | +/- | 5 | 5.48 | +/- | 0.85 | 22.5948 | 86.9841 | 6.3 | +/- | 0.97617
|  |  | 1100 | 0.25 | 0.0731 | +/- | 0.0085 | 0.356 | +/- | 0.073 | 6.169 | +/- | 4.885 | 4.688 | +/- | 1.094 | 82.1 | +/- | 65.7 | 0.82 | +/- | 0.48 | 35.6331 | 13.0159
17-OD1-C1-500-582 | a | 0.1461 | 850 | 0.25 | 0.5034 | +/- | 0.0109 | 4.538 | +/- | 0.151 | 55.092 | +/- | 5.595 | 8.934 | +/- | 0.337 | 109.6 | +/- | 11 | 20.64 | +/- | 1.02 | 66.4501 | 100 | 20.64 | +/- | 1.02
|  |  | 1100 | 0.25 | 0.029 | +/- | 0.0101 | 0.079 | +/- | 0.083 | 2.797 | +/- | 5.661 | 2.705 | +/- | 2.961 | 96.1 | +/- | 192.3 |  | n.d |  | 0 | 0
| b | 0.1475 | 850 | 0.25 | 0.546 | +/- | 0.0097 | 4.631 | +/- | 0.148 | 59.844 | +/- | 5.085 | 8.398 | +/- | 0.26 | 109.4 | +/- | 8.9 | 20.18 | +/- | 0.96 | 64.2745 | 92.9954 | 21.7 | +/- | 1.1015
|  |  | 1100 | 0.25 | 0.0287 | +/- | 0.0054 | 0.313 | +/- | 0.08 | 4.008 | +/- | 5.314 | 10.754 | +/- | 3.353 | 139.3 | +/- | 180 | 1.52 | +/- | 0.54 | 71.6294 | 7.0046
17-OD1-C1-582-649 | a | 0.1444 | 850 | 0.25 | 0.5528 | +/- | 0.011 | 7.01 | +/- | 0.176 | 61.845 | +/- | 5.437 | 12.57 | +/- | 0.375 | 112 | +/- | 9.8 | 36.88 | +/- | 1.19 | 75.9696 | 100 | 36.88 | +/- | 1.19
|  |  | 1100 | 0.25 | 0.0447 | +/- | 0.0097 | 0.206 | +/- | 0.088 | 5.177 | +/- | 5.608 | 4.587 | +/- | 2.165 | 115.4 | +/- | 124.2 |  | n.d |  | 0 | 0
| b | 0.1648 | 850 | 0.25 | 0.5099 | +/- | 0.009 | 5.426 | +/- | 0.16 | 54.577 | +/- | 5.233 | 10.538 | +/- | 0.299 | 106.9 | +/- | 9.9 | 23.5 | +/- | 0.93 | 71.3749 | 96.2326 | 24.42 | +/- | 1.0466
|  |  | 1100 | 0.25 | 0.0527 | +/- | 0.0056 | 0.312 | +/- | 0.08 | 5.348 | +/- | 5.357 | 5.847 | +/- | 1.599 | 101.4 | +/- | 98.6 | 0.92 | +/- | 0.48 | 48.5949 | 3.7674
| c | 0.1569 | 850 | 0.25 | 0.4441 | +/- | 0.0064 | 5.216 | +/- | 0.187 | 48.543 | +/- | 4.671 | 11.317 | +/- | 0.397 | 106.2 | +/- | 10.3 | 23.72 | +/- | 1.07 | 71.351 | 100 | 23.72 | +/- | 1.07
|  |  | 1100 | 0.25 | 0.032 | +/- | 0.0062 | 0.168 | +/- | 0.079 | 3.539 | +/- | 4.816 | 5.038 | +/- | 2.558 | 107.5 | +/- | 147.8 |  | n.d |  | 0 | 0
17-OD1-C1-781-819 | a | 0.1347 | 850 | 0.25 | 0.3884 | +/- | 0.0101 | 7.891 | +/- | 0.204 | 47.411 | +/- | 5.417 | 20.15 | +/- | 0.696 | 122.2 | +/- | 13.9 | 49.68 | +/- | 1.48 | 84.8042 | 100 | 49.68 | +/- | 1.48
|  |  | 1100 | 0.25 | 0.0175 | +/- | 0.0095 | 0.064 | +/- | 0.087 | 2.735 | +/- | 5.59 | 3.657 | +/- | 5.237 | 155.8 | +/- | 321.1 |  | n.d |  | 0 | 0
| b | 0.1369 | 850 | 0.25 | 0.4058 | +/- | 0.0087 | 8.767 | +/- | 0.179 | 51.172 | +/- | 5.196 | 21.404 | +/- | 0.487 | 125.9 | +/- | 12.4 | 54.8 | +/- | 1.31 | 85.5723 | 98.6854 | 55.53 | +/- | 1.4169
|  |  | 1100 | 0.25 | 0.031 | +/- | 0.0076 | 0.194 | +/- | 0.072 | 4.827 | +/- | 5.325 | 6.186 | +/- | 2.707 | 155.7 | +/- | 169.8 | 0.73 | +/- | 0.54 | 51.5139 | 1.3146
17-OD1-C1-819-879 | a | 0.1512 | 850 | 0.25 | 0.3812 | +/- | 0.0112 | 10.561 | +/- | 0.321 | 53.103 | +/- | 5.905 | 26.919 | +/- | 0.881 | 137.6 | +/- | 15.2 | 60.55 | +/- | 1.5 | 86.6884 | 98.2157 | 61.65 | +/- | 1.6119
|  |  | 1100 | 0.25 | 0.0334 | +/- | 0.0089 | 0.272 | +/- | 0.089 | 3.729 | +/- | 5.756 | 7.906 | +/- | 3.297 | 110.9 | +/- | 169.4 | 1.1 | +/- | 0.59 | 61.1471 | 1.7843
| b | 0.1365 | 850 | 0.25 | 0.3915 | +/- | 0.0107 | 10.238 | +/- | 0.219 | 48.944 | +/- | 5.361 | 25.941 | +/- | 0.847 | 125.1 | +/- | 13.7 | 66.07 | +/- | 1.56 | 88.089 | 97.9686 | 67.44 | +/- | 1.7018
|  |  | 1100 | 0.25 | 0.0254 | +/- | 0.0098 | 0.264 | +/- | 0.09 | 4.732 | +/- | 5.572 | 10.321 | +/- | 5.238 | 185.7 | +/- | 224.2 | 1.37 | +/- | 0.68 | 70.8352 | 2.0314
17-OD1-C1-879-944 | a | 0.1472 | 850 | 0.25 | 0.4143 | +/- | 0.0107 | 11.138 | +/- | 0.351 | 53.907 | +/- | 6.004 | 26.117 | +/- | 0.806 | 128.6 | +/- | 14.1 | 65.33 | +/- | 1.74 | 86.3402 | 100 | 65.33 | +/- | 1.74
|  |  | 1100 | 0.25 | 0.0428 | +/- | 0.0095 | 0.164 | +/- | 0.089 | 5.471 | +/- | 5.582 | 3.726 | +/- | 2.157 | 126.9 | +/- | 129.1 |  | n.d |  | 0 | 0
| b | 0.1548 | 850 | 0.25 | 0.3494 | +/- | 0.0097 | 11.547 | +/- | 0.272 | 50.374 | +/- | 5.37 | 32.781 | +/- | 1.089 | 143 | +/- | 15.3 | 67.47 | +/- | 1.52 | 90.4508 | 98.181 | 68.72 | +/- | 1.6269
|  |  | 1100 | 0.25 | 0.0351 | +/- | 0.01 | 0.303 | +/- | 0.087 | 4.239 | +/- | 5.373 | 8.453 | +/- | 3.376 | 118.7 | +/- | 150 | 1.25 | +/- | 0.58 | 63.8614 | 1.819
1 Computed by comparison to 20Ne signal in air standards. 1-sigma uncertainty includes measurement uncertainty of 20Ne signal in this analysis and the reproducibility of the air standards
2 Computed by comparison to 21Ne signal in air standards. 1-sigma uncertainty includes measurement uncertainty of 21Ne signal in this analysis and the reproducibility of the air standards
3 Computed by comparison to 22Ne signal in air standards. 1-sigma uncertainty includes measurement uncertainty of 22Ne signal in this analysis and the reproducibility of the air standards
4 Isotope ratio measured internally during each analysis and corrected for mass discrimination based on an air standard. Does not involve normalization to the Ne isotope signals in the standards, so the ratio computed from absolute Ne isotope amounts in previous columns may differ within uncertainty.

## summary
sample_name | aliquot | aliquot_wt_g | analysis_date | N21xs_atoms_g | delN21xs_atoms_g | system
1. Samples of unconsolidated sediment from ablation till
17-OD1-PIT2-6-14 | a | 0.1525 | 2018-10-01 | 113470000 | 2107225.6642 | BGC-Ohio | Note: mean and SD of concomitant CRONUS-A is | 314.3 | +/- | 9.4 | Matoms/g
17-OD1-PIT2-6-14 | b | 0.1573 | 2018-10-01 | 104670000 | 1630000 | BGC-Ohio
17-OD1-PIT2-14-17 | a | 0.1427 | 2018-10-01 | 105310000 | 1770000 | BGC-Ohio
17-OD1-PIT2-14-17 | b | 0.1584 | 2018-10-01 | 98810000 | 1690000 | BGC-Ohio
17-OD1-PIT2-23-29 | a | 0.1542 | 2018-10-01 | 109070000 | 2043183.7901 | BGC-Ohio
17-OD1-PIT2-23-29 | b | 0.1696 | 2018-10-01 | 100820000 | 1708800.7491 | BGC-Ohio
17-OD1-PIT2-37-43 | a | 0.1527 | 2018-10-01 | 88620000 | 1900000 | BGC-Ohio
17-OD1-PIT2-37-43 | b | 0.1567 | 2018-10-01 | 94680000 | 1510033.1122 | BGC-Ohio
17-OD1-PIT2-43-50 | a | 0.1661 | 2018-10-01 | 53190000 | 1400000 | BGC-Ohio
17-OD1-PIT2-43-50 | b | 0.1623 | 2018-10-01 | 57120000 | 1465400.969 | BGC-Ohio
17-OD1-PIT2-56-62 | a | 0.1621 | 2018-10-01 | 36330000 | 1159741.3505 | BGC-Ohio
17-OD1-PIT2-56-62 | b | 0.1581 | 2018-10-01 | 32830000 | 1320984.4814 | BGC-Ohio
2. Sediment samples from ice core
17-OD1-C1-5-36 | a | 0.1304 | 2018-10-01 | 12510000 | 1306330.7391 | BGC-Ohio
17-OD1-C1-5-36 | b | 0.1643 | 2018-10-01 | 10380000 | 900000 | BGC-Ohio
17-OD1-C1-36-48 | a | 0.1521 | 2018-10-01 | 12820000 | 1168118.1447 | BGC-Ohio
17-OD1-C1-36-48 | b | 0.1629 | 2018-10-01 | 11630000 | 1077821.8777 | BGC-Ohio
17-OD1-C1-48-70 | a | 0.1615 | 2018-10-01 | 12490000 | 1360000 | BGC-Ohio
17-OD1-C1-48-70 | b | 0.1458 | 2018-10-01 | 16490000 | 1334616.0497 | BGC-Ohio
17-OD1-C1-48-70 | c | 0.1347 | 2018-10-01 | 10830000 | 1159741.3505 | BGC-Ohio
17-OD1-C1-70-100 | a | 0.1433 | 2018-10-01 | 39830000 | 1525417.9755 | BGC-Ohio
17-OD1-C1-70-100 | b | 0.1598 | 2018-10-01 | 39900000 | 1141271.2211 | BGC-Ohio
17-OD1-C1-107-125 | a | 0.1606 | 2018-10-01 | 33800000 | 1130000 | BGC-Ohio
17-OD1-C1-107-125 | b | 0.148 | 2018-10-01 | 44060000 | 1437810.836 | BGC-Ohio
17-OD1-C1-107-125 | c | 0.1625 | 2018-10-01 | 34130000 | 1150000 | BGC-Ohio
17-OD1-C1-125-145 | a | 0.164 | 2018-10-01 | 29530000 | 1226743.657 | BGC-Ohio
17-OD1-C1-125-145 | b | 0.1471 | 2018-10-01 | 33210000 | 1343316.7906 | BGC-Ohio
17-OD1-C1-125-145 | c | 0.1539 | 2018-10-01 | 28400000 | 1207683.7334 | BGC-Ohio
17-OD1-C1-185-235 | a | 0.1532 | 2018-10-01 | 13190000 | 910000 | BGC-Ohio
17-OD1-C1-185-235 | b | 0.1503 | 2018-10-01 | 17160000 | 1033537.6142 | BGC-Ohio
17-OD1-C1-185-235 | c | 0.1457 | 2018-10-01 | 11640000 | 930000 | BGC-Ohio
17-OD1-C1-235-310 | a | 0.1449 | 2018-10-01 | 5770000 | 860000 | BGC-Ohio
17-OD1-C1-235-310 | b | 0.1564 | 2018-10-01 | 8070000 | 938136.4506 | BGC-Ohio
17-OD1-C1-235-310 | c | 0.1654 | 2018-10-01 | 5410000 | 800000 | BGC-Ohio
17-OD1-C1-310-350 | a | 0.1543 | 2018-10-01 | 5490000 | 1010000 | BGC-Ohio
17-OD1-C1-310-350 | b | 0.1435 | 2018-10-01 | 15800000 | 1111395.5192 | BGC-Ohio
17-OD1-C1-310-350 | c | 0.1547 | 2018-10-01 | 6300000 | 976165.9695 | BGC-Ohio
17-OD1-C1-500-582 | a | 0.1461 | 2018-10-01 | 20640000 | 1020000 | BGC-Ohio
17-OD1-C1-500-582 | b | 0.1475 | 2018-10-01 | 21700000 | 1101453.585 | BGC-Ohio
17-OD1-C1-582-649 | a | 0.1444 | 2018-10-01 | 36880000 | 1190000 | BGC-Ohio
17-OD1-C1-582-649 | b | 0.1648 | 2018-10-01 | 24420000 | 1046565.8126 | BGC-Ohio
17-OD1-C1-582-649 | c | 0.1569 | 2018-10-01 | 23720000 | 1070000 | BGC-Ohio
17-OD1-C1-781-819 | a | 0.1347 | 2018-10-01 | 49680000 | 1480000 | BGC-Ohio
17-OD1-C1-781-819 | b | 0.1369 | 2018-10-01 | 55530000 | 1416933.3082 | BGC-Ohio
17-OD1-C1-819-879 | a | 0.1512 | 2018-10-01 | 61650000 | 1611862.277 | BGC-Ohio
17-OD1-C1-819-879 | b | 0.1365 | 2018-10-01 | 67440000 | 1701763.7909 | BGC-Ohio
17-OD1-C1-879-944 | a | 0.1472 | 2018-10-01 | 65330000 | 1740000 | BGC-Ohio
17-OD1-C1-879-944 | b | 0.1548 | 2018-10-01 | 68720000 | 1626898.8905 | BGC-Ohio

## ratio summary
Sample | temp | N20 | delN20 | N21 | delN21 | N22 | delN22 | r2120 | delr2120 | r2220 | delr2220
Unconsolidated ablation till
17-OD1-PIT2-6-14 | 850 | 668100000 | 14000000 | 19471000 | 528000 | 89493000 | 6430000 | 0.028438 | 0.000593 | 0.1325 | 0.0093
17-OD1-PIT2-6-14 | 1100 | 73900000 | 10300000 | 471000 | 90000 | 8269000 | 5761000 | 0.006209 | 0.001442 | 0.111 | 0.0768
17-OD1-PIT2-6-14 | 850 | 698200000 | 10700000 | 18600000 | 326000 | 89879000 | 5406000 | 0.026484 | 0.000505 | 0.128 | 0.0077
17-OD1-PIT2-6-14 | 1100 | 55800000 | 9300000 | 105000 | 84000 | 7857000 | 5426000 | 0.00185 | 0.001496 | 0.1391 | 0.0962
17-OD1-PIT2-14-17 | 850 | 698200000 | 12800000 | 17487000 | 461000 | 91039000 | 6293000 | 0.02443 | 0.00042 | 0.129 | 0.0087
17-OD1-PIT2-14-17 | 1100 | 52500000 | 10700000 | 231000 | 88000 | 6239000 | 5781000 | 0.004279 | 0.001825 | 0.1178 | 0.1089
17-OD1-PIT2-14-17 | 850 | 746800000 | 12700000 | 17934000 | 332000 | 93929000 | 5411000 | 0.023869 | 0.000508 | 0.1251 | 0.0073
17-OD1-PIT2-14-17 | 1100 | 29900000 | 9500000 | 157000 | 80000 | 3822000 | 5402000 | 0.005205 | 0.003066 | 0.1263 | 0.1781
17-OD1-PIT2-23-29 | 850 | 822900000 | 14400000 | 19589000 | 514000 | 105215000 | 6363000 | 0.02315 | 0.000399 | 0.1263 | 0.0074
17-OD1-PIT2-23-29 | 1100 | 61100000 | 9600000 | 354000 | 94000 | 8782000 | 5724000 | 0.00563 | 0.001707 | 0.1426 | 0.0932
17-OD1-PIT2-23-29 | 850 | 922200000 | 15600000 | 19556000 | 344000 | 112209000 | 5461000 | 0.021062 | 0.000429 | 0.1209 | 0.006
17-OD1-PIT2-23-29 | 1100 | 100400000 | 10100000 | 669000 | 100000 | 12713000 | 5399000 | 0.006578 | 0.001161 | 0.125 | 0.0531
17-OD1-PIT2-37-43 | 850 | 415200000 | 10400000 | 15148000 | 433000 | 61595000 | 6121000 | 0.035474 | 0.000961 | 0.1465 | 0.0144
17-OD1-PIT2-37-43 | 1100 | 28200000 | 9200000 | 171000 | 86000 | 6109000 | 5731000 | 0.005878 | 0.003484 | 0.2148 | 0.208
17-OD1-PIT2-37-43 | 850 | 418000000 | 10700000 | 15976000 | 277000 | 61523000 | 5608000 | 0.037951 | 0.001052 | 0.1462 | 0.0134
17-OD1-PIT2-37-43 | 1100 | 42000000 | 9600000 | 304000 | 91000 | 4394000 | 5609000 | 0.007132 | 0.002649 | 0.1032 | 0.1301
17-OD1-PIT2-43-50 | 850 | 741800000 | 14000000 | 11324000 | 340000 | 85362000 | 6181000 | 0.01484 | 0.000351 | 0.1136 | 0.008
17-OD1-PIT2-43-50 | 1100 | 78300000 | 9300000 | 316000 | 84000 | 7628000 | 5692000 | 0.003916 | 0.001126 | 0.0967 | 0.0712
17-OD1-PIT2-43-50 | 850 | 722800000 | 11200000 | 11312000 | 253000 | 83420000 | 5728000 | 0.015534 | 0.000366 | 0.1146 | 0.0078
17-OD1-PIT2-43-50 | 1100 | 49800000 | 10400000 | 312000 | 89000 | 7274000 | 5391000 | 0.006162 | 0.002151 | 0.1437 | 0.1077
17-OD1-PIT2-56-62 | 850 | 531900000 | 11600000 | 7520000 | 232000 | 60902000 | 6063000 | 0.013741 | 0.00037 | 0.1131 | 0.011
17-OD1-PIT2-56-62 | 1100 | 50600000 | 9200000 | 300000 | 93000 | 5425000 | 5632000 | 0.005757 | 0.002032 | 0.1066 | 0.1094
17-OD1-PIT2-56-62 | 850 | 489300000 | 11500000 | 6557000 | 205000 | 55616000 | 5570000 | 0.013297 | 0.000484 | 0.1128 | 0.0113
17-OD1-PIT2-56-62 | 1100 | 26000000 | 9800000 | 201000 | 82000 | 6385000 | 5278000 | 0.007578 | 0.004135 | 0.2413 | 0.2132
Sediment in ice cores
17-OD1-C1-5-36 | 850 | 1057500000 | 13300000 | 4741000 | 150000 | 110480000 | 5634000 | 0.00441 | 0.000138 | 0.1043 | 0.0053
17-OD1-C1-5-36 | 1100 | 89800000 | 10000000 | 362000 | 90000 | 9966000 | 5418000 | 0.003996 | 0.001079 | 0.1111 | 0.06
17-OD1-C1-5-36 | 850 | 1108600000 | 12600000 | 5025000 | 159000 | 115374000 | 5455000 | 0.004493 | 0.000137 | 0.1032 | 0.0048
17-OD1-C1-5-36 | 1100 | 109000000 | 9600000 | 383000 | 96000 | 12990000 | 5459000 | 0.003443 | 0.000901 | 0.1171 | 0.0489
17-OD1-C1-36-48 | 850 | 1696800000 | 17500000 | 6498000 | 165000 | 178528000 | 5840000 | 0.003768 | 9e-05 | 0.1051 | 0.0034
17-OD1-C1-36-48 | 1100 | 165100000 | 9500000 | 1070000 | 91000 | 17051000 | 5278000 | 0.006436 | 0.00065 | 0.1034 | 0.0317
17-OD1-C1-36-48 | 850 | 1418600000 | 10600000 | 5693000 | 160000 | 143896000 | 5206000 | 0.004031 | 0.000111 | 0.1013 | 0.0035
17-OD1-C1-36-48 | 1100 | 176600000 | 5500000 | 904000 | 81000 | 17622000 | 5556000 | 0.005046 | 0.000468 | 0.0995 | 0.0305
17-OD1-C1-48-70 | 850 | 1303300000 | 14100000 | 5808000 | 206000 | 137022000 | 5774000 | 0.004386 | 0.000151 | 0.105 | 0.0044
17-OD1-C1-48-70 | 1100 | 101500000 | 10100000 | 457000 | 100000 | 11304000 | 5446000 | 0.004467 | 0.001061 | 0.1115 | 0.0534
17-OD1-C1-48-70 | 850 | 1320200000 | 13000000 | 5903000 | 171000 | 136996000 | 5271000 | 0.004493 | 0.000131 | 0.1037 | 0.0039
17-OD1-C1-48-70 | 1100 | 131100000 | 5400000 | 771000 | 97000 | 14975000 | 5063000 | 0.005805 | 0.000755 | 0.114 | 0.0375
17-OD1-C1-48-70 | 850 | 1180500000 | 14300000 | 4991000 | 154000 | 122337000 | 4970000 | 0.004079 | 0.000117 | 0.1004 | 0.0041
17-OD1-C1-48-70 | 1100 | 66000000 | 5100000 | 339000 | 77000 | 5908000 | 4630000 | 0.00498 | 0.001196 | 0.0873 | 0.0687
17-OD1-C1-70-100 | 850 | 991000000 | 13400000 | 8622000 | 218000 | 109604000 | 5737000 | 0.00857 | 0.000216 | 0.1106 | 0.0057
17-OD1-C1-70-100 | 1100 | 77500000 | 11000000 | 364000 | 88000 | 11846000 | 5418000 | 0.004666 | 0.001292 | 0.1531 | 0.0714
17-OD1-C1-70-100 | 850 | 995200000 | 7200000 | 8974000 | 176000 | 107652000 | 5122000 | 0.009068 | 0.000174 | 0.1081 | 0.005
17-OD1-C1-70-100 | 1100 | 89200000 | 7100000 | 551000 | 73000 | 7950000 | 5251000 | 0.006106 | 0.00093 | 0.0889 | 0.0572
17-OD1-C1-107-125 | 850 | 1173900000 | 18200000 | 9020000 | 202000 | 123796000 | 5762000 | 0.007571 | 0.000178 | 0.1055 | 0.005
17-OD1-C1-107-125 | 1100 | 100800000 | 10600000 | 272000 | 87000 | 11239000 | 5555000 | 0.00268 | 0.000888 | 0.1116 | 0.0549
17-OD1-C1-107-125 | 850 | 1279300000 | 9600000 | 9755000 | 206000 | 136624000 | 5218000 | 0.00767 | 0.000159 | 0.1067 | 0.0039
17-OD1-C1-107-125 | 1100 | 107600000 | 5400000 | 804000 | 85000 | 13455000 | 5137000 | 0.007397 | 0.00085 | 0.1247 | 0.0464
17-OD1-C1-107-125 | 850 | 1185400000 | 12900000 | 9378000 | 227000 | 129706000 | 4998000 | 0.007626 | 0.000157 | 0.106 | 0.0041
17-OD1-C1-107-125 | 1100 | 126800000 | 5500000 | 348000 | 76000 | 12833000 | 4658000 | 0.002662 | 0.000593 | 0.0987 | 0.0361
17-OD1-C1-125-145 | 850 | 1148300000 | 13500000 | 8133000 | 196000 | 121065000 | 5996000 | 0.006981 | 0.000161 | 0.1055 | 0.0052
17-OD1-C1-125-145 | 1100 | 111700000 | 9400000 | 546000 | 96000 | 13750000 | 5433000 | 0.004858 | 0.000933 | 0.1231 | 0.0484
17-OD1-C1-125-145 | 850 | 937200000 | 9200000 | 7331000 | 187000 | 103064000 | 5092000 | 0.007869 | 0.000203 | 0.1099 | 0.0053
17-OD1-C1-125-145 | 1100 | 78200000 | 5000000 | 507000 | 80000 | 9388000 | 5116000 | 0.006441 | 0.001075 | 0.1198 | 0.0635
17-OD1-C1-125-145 | 850 | 899800000 | 14200000 | 7173000 | 194000 | 100816000 | 4910000 | 0.007681 | 0.000203 | 0.1086 | 0.0054
17-OD1-C1-125-145 | 1100 | 92900000 | 5800000 | 399000 | 81000 | 10229000 | 4813000 | 0.004159 | 0.000885 | 0.1073 | 0.0509
17-OD1-C1-185-235 | 850 | 765100000 | 11900000 | 4341000 | 146000 | 79453000 | 5599000 | 0.005594 | 0.000191 | 0.1039 | 0.0073
17-OD1-C1-185-235 | 1100 | 57900000 | 9300000 | 73000 | 91000 | 5812000 | 5422000 | 0.001255 | 0.001553 | 0.1002 | 0.0924
17-OD1-C1-185-235 | 850 | 809700000 | 6800000 | 4699000 | 140000 | 85381000 | 4905000 | 0.005839 | 0.000172 | 0.1054 | 0.0059
17-OD1-C1-185-235 | 1100 | 62800000 | 5700000 | 430000 | 73000 | 5460000 | 5167000 | 0.006803 | 0.001294 | 0.0867 | 0.0796
17-OD1-C1-185-235 | 850 | 738100000 | 9800000 | 4024000 | 148000 | 76050000 | 4903000 | 0.00525 | 0.000186 | 0.0998 | 0.0065
17-OD1-C1-235-310 | 850 | 562000000 | 13400000 | 2531000 | 125000 | 58975000 | 5636000 | 0.004442 | 0.000234 | 0.105 | 0.01
17-OD1-C1-235-310 | 1100 | 39700000 | 11000000 | 11000 | 85000 | 5695000 | 5447000 | 0.000284 | 0.002103 | 0.1431 | 0.1387
17-OD1-C1-235-310 | 850 | 591000000 | 8000000 | 2842000 | 125000 | 59193000 | 4856000 | 0.004838 | 0.000216 | 0.1002 | 0.008
17-OD1-C1-235-310 | 1100 | 69600000 | 5300000 | 356000 | 77000 | 6833000 | 5187000 | 0.005085 | 0.00115 | 0.0979 | 0.0722
17-OD1-C1-235-310 | 850 | 676700000 | 9400000 | 3000000 | 141000 | 68092000 | 4869000 | 0.004279 | 0.000198 | 0.0977 | 0.0071
17-OD1-C1-235-310 | 1100 | 58500000 | 4600000 | 260000 | 83000 | 5885000 | 4772000 | 0.004277 | 0.001402 | 0.0979 | 0.0797
17-OD1-C1-310-350 | 850 | 988300000 | 14000000 | 3819000 | 162000 | 101919000 | 5681000 | 0.003813 | 0.00016 | 0.1032 | 0.0057
17-OD1-C1-310-350 | 1100 | 97300000 | 9900000 | 325000 | 85000 | 8888000 | 5371000 | 0.00332 | 0.000918 | 0.0911 | 0.0544
17-OD1-C1-310-350 | 850 | 1238900000 | 9100000 | 5440000 | 142000 | 127638000 | 4967000 | 0.004418 | 0.000113 | 0.103 | 0.0039
17-OD1-C1-310-350 | 1100 | 126000000 | 5100000 | 831000 | 80000 | 14211000 | 4991000 | 0.006574 | 0.000673 | 0.1126 | 0.0385
17-OD1-C1-310-350 | 850 | 936600000 | 9000000 | 3752000 | 146000 | 95204000 | 4826000 | 0.003862 | 0.000141 | 0.0987 | 0.005
17-OD1-C1-310-350 | 1100 | 73100000 | 8500000 | 356000 | 73000 | 6169000 | 4885000 | 0.004688 | 0.001094 | 0.0821 | 0.0657
17-OD1-C1-500-582 | 850 | 503400000 | 10900000 | 4538000 | 151000 | 55092000 | 5595000 | 0.008934 | 0.000337 | 0.1096 | 0.011
17-OD1-C1-500-582 | 1100 | 29000000 | 10100000 | 79000 | 83000 | 2797000 | 5661000 | 0.002705 | 0.002961 | 0.0961 | 0.1923
17-OD1-C1-500-582 | 850 | 546000000 | 9700000 | 4631000 | 148000 | 59844000 | 5085000 | 0.008398 | 0.00026 | 0.1094 | 0.0089
17-OD1-C1-500-582 | 1100 | 28700000 | 5400000 | 313000 | 80000 | 4008000 | 5314000 | 0.010754 | 0.003353 | 0.1393 | 0.18
17-OD1-C1-582-649 | 850 | 552800000 | 11000000 | 7010000 | 176000 | 61845000 | 5437000 | 0.01257 | 0.000375 | 0.112 | 0.0098
17-OD1-C1-582-649 | 1100 | 44700000 | 9700000 | 206000 | 88000 | 5177000 | 5608000 | 0.004587 | 0.002165 | 0.1154 | 0.1242
17-OD1-C1-582-649 | 850 | 509900000 | 9000000 | 5426000 | 160000 | 54577000 | 5233000 | 0.010538 | 0.000299 | 0.1069 | 0.0099
17-OD1-C1-582-649 | 1100 | 52700000 | 5600000 | 312000 | 80000 | 5348000 | 5357000 | 0.005847 | 0.001599 | 0.1014 | 0.0986
17-OD1-C1-582-649 | 850 | 444100000 | 6400000 | 5216000 | 187000 | 48543000 | 4671000 | 0.011317 | 0.000397 | 0.1062 | 0.0103
17-OD1-C1-582-649 | 1100 | 32000000 | 6200000 | 168000 | 79000 | 3539000 | 4816000 | 0.005038 | 0.002558 | 0.1075 | 0.1478
17-OD1-C1-781-819 | 850 | 388400000 | 10100000 | 7891000 | 204000 | 47411000 | 5417000 | 0.02015 | 0.000696 | 0.1222 | 0.0139
17-OD1-C1-781-819 | 1100 | 17500000 | 9500000 | 64000 | 87000 | 2735000 | 5590000 | 0.003657 | 0.005237 | 0.1558 | 0.3211
17-OD1-C1-781-819 | 850 | 405800000 | 8700000 | 8767000 | 179000 | 51172000 | 5196000 | 0.021404 | 0.000487 | 0.1259 | 0.0124
17-OD1-C1-781-819 | 1100 | 31000000 | 7600000 | 194000 | 72000 | 4827000 | 5325000 | 0.006186 | 0.002707 | 0.1557 | 0.1698
17-OD1-C1-819-879 | 850 | 381200000 | 11200000 | 10561000 | 321000 | 53103000 | 5905000 | 0.026919 | 0.000881 | 0.1376 | 0.0152
17-OD1-C1-819-879 | 1100 | 33400000 | 8900000 | 272000 | 89000 | 3729000 | 5756000 | 0.007906 | 0.003297 | 0.1109 | 0.1694
17-OD1-C1-819-879 | 850 | 391500000 | 10700000 | 10238000 | 219000 | 48944000 | 5361000 | 0.025941 | 0.000847 | 0.1251 | 0.0137
17-OD1-C1-819-879 | 1100 | 25400000 | 9800000 | 264000 | 90000 | 4732000 | 5572000 | 0.010321 | 0.005238 | 0.1857 | 0.2242
17-OD1-C1-879-944 | 850 | 414300000 | 10700000 | 11138000 | 351000 | 53907000 | 6004000 | 0.026117 | 0.000806 | 0.1286 | 0.0141
17-OD1-C1-879-944 | 1100 | 42800000 | 9500000 | 164000 | 89000 | 5471000 | 5582000 | 0.003726 | 0.002157 | 0.1269 | 0.1291
17-OD1-C1-879-944 | 850 | 349400000 | 9700000 | 11547000 | 272000 | 50374000 | 5370000 | 0.032781 | 0.001089 | 0.143 | 0.0153
17-OD1-C1-879-944 | 1100 | 35100000 | 10000000 | 303000 | 87000 | 4239000 | 5373000 | 0.008453 | 0.003376 | 0.1187 | 0.15